## Notes
How To:
In "results" we have the aggregate rove_time
In individual data files such as "1-001", we take notes for when physician started/stopped an ablation series
Here we track total ablation time which I will refer to going forward as rove_time
rove_time is the sum of time spent ablating/positioning catheters for ablation. This timer starts at the beginning of the first lesion
with FieldForce catheter and runs continuously until all ablations are complete or if we stop ablating for EPS, remapping
If we go back in to ablate again, we start the timer once more after the first lesion of the next set
rove_time DOES include time spent between lesions if/when we need to wait for paralytics
procedure_time is sum procedure time in seconds: skin closure - vascular access
rove_time is expressed in seconds
link_to_data should be a link to dropbox/sharepoint that dynamically updates if data gets moved
What is “ablation” time?
From the start of the first ablation to the end of the last. Total time includes time spent ablating, time between applications, time spent moving between lesion sites, trivial tasks (<60s)
60s rule: If a physician gets distracted with something other than ablate/move for more than 60s
What do we do if are lesion sets are broken up? Aka, what do we do if we “stop” the timer? : A timer always “starts” when the first application is delivered and ends with the last, time repositioning is not included.
Example 1: Dr. Reddy is asked to attend to a patient in the other lab: stop the timer and record end of last lesion
Example 2: Dr. Reddy needs anesthesia to paralyze the patient, this takes a total of 3 minutes between Dr. Reddy last positioning/ablating and when he’s ready to go again the next time: stop the timer and record end of last lesion
Example 3: Dr. Reddy needs to draw a blood gas for an ACT every 15 minutes: do NOT stop the timer
Example 4: Dr. Reddy wants to enter a waiting period OR re-map post-ablation: stop the timer
Example 5: Dr. Reddy is struggling to position the catheter on the ridge of the appendage for over 2min: do NOT stop the timer
Example 6: Patient needs to be further paralyzed between unipolar application, this takes 3min: do NOT stop the timer, this is a PFA specific time sink

## results
id | procedure_time | rove_time | num_applications | notes | link_to_data
1-001 | 21600 | 2801 | 77 | rove_time includes RFA, we switched due to generator issues | 1_001.mp4
1-002 | 5640 | 3025 | 165 |  | 1_002.mp4
1-005 |  |  |  | incomplete footage? It's only 30ish min and shows a couple lesions, but there should be 19 | https://fieldmedical.sharepoint.com/:f:/r/sites/Clinical/Shared%20Documents/FIM%20Recorded%20Cases/VCAS%20Pt%201-004%20through%201-009/case%202%20-%201-005?csf=1&web=1&e=WrvKUw
1-010 | 17760 | 542 | 75 |  | https://www.dropbox.com/scl/fo/edy1jxlx9nh05sxedwuk0/ABHiHnnUacjbME5FkjwVQvA?rlkey=fv2j80py9pmipcp3j4tc2eqsr&st=09ynck9r&dl=0
1-011 |  |  |  | Excluded - patient procedure was aborted | https://www.dropbox.com/scl/fo/q1tba9iyynwoeceh8qfv3/APyARUVqai82OSEcUvw0p1g?rlkey=noxj9yewkgsqrboh2kexjftyd&st=yae78lfa&dl=0
1-012 | 8880 | 1734 | 102 |  | https://www.dropbox.com/scl/fo/wqvpzty7er5co1je1q5a8/AGeRgYaALyUJ7ocLsmvpQys?rlkey=grix0fwmf986x5v5n8xrz6jbf&st=bodgtces&dl=0
1-013 | 8760 | 463 | 31 |  | https://www.dropbox.com/scl/fo/lgbfgrdztyqibgbmd37jf/AJgChytFd4m-vdmPyFqWyTs?rlkey=nvxzk4jz0hrbebfmb9t4i0seq&st=nc76hmfo&dl=0

## 1-001
start_time | end_time | time_diff | notes
2:00 | 2:00 | 0:00 | a resistor fries in the generator after the first appplication of the first lesion.
2:45 | 2:52 | 0:06 | abl 2 - 3
2:58 | 3:29 | 0:31 | Vivek wanted to come on at 2:55:11 but gating issues delayed until 2:57:08
4:05 | 4:06 | 0:01 | started to remap ater 3:28:30. Put in 1 lesions ten proceeded to upsize catheters
4:29 | 4:29 | 0:00 | generator dies
4:44 | 4:51 | 0:08 | Switch to RFA
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 2801
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 9:05
Skin Closure: |  | 15:05
Total Procedure Time |  | 21600 | This doesn't work correctly if done across days

## 1-002
start_time | end_time | time_diff | notes
2:46 | 2:51 | 0:04 | we stop ablating to terminate VT
2:51 | 2:57 | 0:06 | Induced a new VT
3:01 | 3:40 | 0:38 | epi remap after last lesion
3:54 | 3:55 | 0:01 | after epi remap we identified more endocardial targets. Induction after another endo lesion
4:07 | 4:07 | 0:01 | Targetting that annuluar exit that's hard to reach
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 3025
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 9:40
Skin Closure: |  | 11:14
Total Procedure Time |  | 5640 | This doesn't work correctly if done across days

## 1-005
start_time | end_time | time_diff | notes
0:06 | 0:10 | 0:04 | stopped to remap
|  | 0:00 | no more footage? This was too short, there should have been more lesions
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 253
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 0:00
Skin Closure: |  | 0:00
Total Procedure Time |  | 0 | This doesn't work correctly if done across days

## 1-010
start_time | end_time | time_diff | notes
0:32 | 0:35 | 0:04 | stops for induction/remapping
1:22 | 1:23 | 0:01
1:48 | 1:53 | 0:05
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 542
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 8:46
Skin Closure: |  | 13:42
Total Procedure Time |  | 17760 | This doesn't work correctly if done across days

## 1-012
start_time | end_time | time_diff | notes
1:06 | 1:22 | 0:16 | Stopped for anesthesia
1:26 | 1:37 | 0:11 | stopped to attempt induction - induced and cardioverted
1:47 | 1:49 | 0:02 | Ablation after VT induction
2:03 | 2:04 | 0:00 | final lesion
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 1734
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 10:42
Skin Closure: |  | 13:10
Total Procedure Time |  | 8880 | This doesn't work correctly if done across days

## 1-013
start_time | end_time | time_diff | notes
0:55 | 0:57 | 0:02
1:06 | 1:09 | 0:04
1:12 | 1:13 | 0:01
1:19 | 1:19 | 0:00
1:33 | 1:34 | 0:01
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 463
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 14:44
Skin Closure: |  | 17:10
Total Procedure Time |  | 8760 | This doesn't work correctly if done across days

## template
start_time | end_time | time_diff | notes
0:01 | 0:02 | 0:01
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 60
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 9:05
Skin Closure: |  | 15:05
Total Procedure Time |  | 21600 | This doesn't work correctly if done across days