## Notes
How To:
In "results" we have the aggregate rove_time
In individual data files such as "1-001", we take notes for when physician started/stopped an ablation series
Here we track total ablation time which I will refer to going forward as rove_time
rove_time is the sum of time spent ablating/positioning catheters for ablation. This timer starts at the beginning of the first lesion
with FieldForce catheter and runs continuously until all ablations are complete or if we stop ablating for EPS, remapping
If we go back in to ablate again, we start the timer once more after the first lesion of the next set
rove_time DOES include time spent between lesions if/when we need to wait for paralytics
DO NOT USE: procedure_time is sum procedure time in seconds: skin closure - vascular access - *WE WILL USE THE OFFICIAL NUMBERS FROM GLG as of 11/27/24*
rove_time is expressed in seconds
numberlesions is number of locations where we ablated
dwell_time is expressed in seconds. It is fieldforce out minus fieldforce in. When there is footage available, this is calculated based off those timestamps, otherwise we use GLG timestamps
link_to_data should be a link to dropbox/sharepoint that dynamically updates if data gets moved
What is “ablation” time?
From the start of the first ablation to the end of the last. Total time includes time spent ablating, time between applications, time spent moving between lesion sites, trivial tasks (<60s)
60s rule: If a physician gets distracted with something other than ablate/move for more than 60s
What do we do if are lesion sets are broken up? Aka, what do we do if we “stop” the timer? : A timer always “starts” when the first application is delivered and ends with the last, time repositioning back into place if they moved is not included.
Example 1: Dr. Reddy is asked to attend to a patient in the other lab: stop the timer and record end of last lesion
Example 3: Dr. Reddy needs to draw a blood gas for an ACT every 15 minutes: do NOT stop the timer
Example 4: Dr. Reddy wants to enter a waiting period OR re-map post-ablation: stop the timer
Example 5: Dr. Reddy is struggling to position the catheter on the ridge of the appendage for over 2min: do NOT stop the timer
Example 6: Patient needs to be further paralyzed between unipolar application, this takes 3min: do NOT stop the timer, this is a PFA specific time sink

## results
subjectId | rove_time | dwell_time | etiology | therapy | notes | link_to_data
1-001 | 2801 | 6452 | ischemic | 15kv_20x5_uni | rove_time includes RFA, we switched due to generator issues | 1_001.mp4
1-002 | 3965 | 5536 | ischemic | 15kv_20x5_uni |  | 1_002.mp4
1-003 | 11 |  | idiopathic | 15kv_20x5_kissing |  | https://www.dropbox.com/scl/fi/kjzqxjugpnpe7q170293s/Case_03_mapping.mp4?rlkey=t9dvfjso6sijm7cpxis87a6z8&st=jy8cgq6s&dl=0
1-004 | 57 |  | idiopathic | 15kv_20x5_uni |  | https://www.dropbox.com/scl/fi/fq5bihpiksh1v0n8vonjb/mapping.mp4?rlkey=tz8wgk2oqp0zl71gz0ml5zohn&st=q2fl2y0b&dl=0
1-005 | 2075 | 5374 | ischemic | 15kv_20x5_uni | Do not have vascular access - skin closure time | https://www.dropbox.com/scl/fi/5tyj68sp7zxyd2jq5jweo/mapping_1.mp4?rlkey=z7xmuub9432pvl1mj980fkxzl&st=ma5rfzyj&dl=0
1-006 | 332 |  | idiopathic | 15kv_20x5_uni |  | https://www.dropbox.com/scl/fi/cv1v08tn069lzxf6dwogw/mapping.mp4?rlkey=iarg0glj0rviceq0b3mr2sego&st=rlgtb433&dl=0
1-007 | 63 |  | idiopathic | 15kv_20x5_kissing |  | https://www.dropbox.com/scl/fi/peurqoybhkspp85ux42k8/mapping.mp4?rlkey=dv5umzao1haybncuk2xf07jb4&st=irw1rwv0&dl=0
1-008 | 270 |  | idiopathic | 15kv_20x5_uni |  | https://www.dropbox.com/scl/fi/5hjk0fp4rff3mer6p5dlx/mapping.mp4?rlkey=j98a9gbi7pm4r12xyy6j9k1xs&st=0lynb7r8&dl=0
1-009 |  |  | idiopathic | 15kv_20x5_kissing | Video cuts out, we will use catheter in/out time for this one | https://www.dropbox.com/scl/fi/s75yzalk00foc3advkueh/carto-mapping.mp4?rlkey=kz3x0k9uecjb6its71eoie2aj&st=awbej9o1&dl=0
1-010 | 1993 | 8040 | ischemic | 15kv_20x5_uni | Video randomly cuts out during video 2 and we can't figure out exact dwell time in that case. We will use what's in GLG | https://www.dropbox.com/scl/fo/edy1jxlx9nh05sxedwuk0/ABHiHnnUacjbME5FkjwVQvA?rlkey=fv2j80py9pmipcp3j4tc2eqsr&st=09ynck9r&dl=0
1-011 |  |  | ischemic |  | Excluded - patient procedure was aborted | https://www.dropbox.com/scl/fo/q1tba9iyynwoeceh8qfv3/APyARUVqai82OSEcUvw0p1g?rlkey=noxj9yewkgsqrboh2kexjftyd&st=yae78lfa&dl=0
1-012 | 1734 | 2919 | ischemic | 15kv_20x5_uni |  | https://www.dropbox.com/scl/fo/wqvpzty7er5co1je1q5a8/AGeRgYaALyUJ7ocLsmvpQys?rlkey=grix0fwmf986x5v5n8xrz6jbf&st=bodgtces&dl=0
1-013 | 463 | 2160 | non-ischemic | 15kv_20x5_uni |  | https://www.dropbox.com/scl/fo/wqvpzty7er5co1je1q5a8/AGeRgYaALyUJ7ocLsmvpQys?rlkey=jvtr1ahy8gjngyvz6c77k6ue6&st=ai1fvbnr&dl=0
1-014 | 2043 | 4175 | ischemic | 15kv_3x12_uni |  | https://www.dropbox.com/scl/fo/is570gcktbtom1msir8zt/AONNAhFHaPlLnkOqadXyaqY?rlkey=z19u932s4tm1gc9ahuyoehpmk&st=us60wflb&dl=0
1-015 | 568 | 1284 | ischemic | 15kv_3x12_uni |  | https://www.dropbox.com/scl/fo/xhk78kalk65wgpvj7auyb/AE_ARhwxc15CqbcynuscspI?rlkey=y43fcxabmq98k6b0bd886gy5s&st=2183dxy9&dl=0
1-016 | 1478 | 2938 | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:f:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-016/VCAS_16?csf=1&web=1&e=eHRKVn
1-017 | 2486 | 3752 | ischemic | 15kv_3x12_uni | Huge inferior wall scar, lots of VTs | https://fieldmedical.sharepoint.com/:f:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-017/VCAS_17?csf=1&web=1&e=3Flab4
3-001 | 2808 |  | ischemic | 15kv_3x12_uni | At this point we start using the outputs from the ablation software instead of footage | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/3-001/2024_11_19T10_47_55.txt?csf=1&web=1&e=TnJBXl
3-002 | 3937 |  | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/3-002/Mapping%20Data/2024_11_19T16_32_19.txt?csf=1&web=1&e=jqBaoY
3-003 | 3340 |  | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/3-003/Ablation%20Data/2024_11_20T10_50_23.txt?csf=1&web=1&e=VyRnKr
3-004 | 2171 |  | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/3-004/2024_11_20T13_47_04.txt?csf=1&web=1&e=1hT8hN
1-018 | 2594 | 2173 | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-018/abl%20log.txt?csf=1&web=1&e=rFImkQ
1-019 | 935 | 2940 | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-019/abl%20log.txt?csf=1&web=1&e=I21M6q
1-020 | 3180 | 7079 | non-ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:f:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-020/Footage?csf=1&web=1&e=5fv4Kc
1-021 |  |  | non-ischemic | 15kv_3x12_uni | Screen failure. No endocardial scar. Obvious scar basal septal intramural | https://fieldmedical.sharepoint.com/:v:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-021/Footage/mix.mp4?csf=1&web=1&e=Zfem64
1-022 | 304 | 946 | non-ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:v:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-022/Footage/mix.mp4?csf=1&web=1&e=OnvivJ
1-023 | 1338 | 2104 | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:v:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-023/Footage/mix.mp4?csf=1&web=1&e=KnIY90
1-024 | 2112 | 3775 | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:v:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-024/Footage/MIXoutput.mp4?csf=1&web=1&e=2sajXP
1-025 | 1414 | 2064 | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:v:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-025/Footage/mix.mp4?csf=1&web=1&e=pwO54g
1-026 | 1460 | 1847 | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:v:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/1-026/Footage/mix.mp4?csf=1&web=1&e=a8MU7K
3-005 | 881 |  | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/3-005/03-005%20abl.txt?csf=1&web=1&e=DkXDNr
3-006 | 1586 |  | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/3-006/03-006%20abl.txt?csf=1&web=1&e=5Bp6zD
3-007 |  |  |  |  | Screen failure - pacemaker dependent
3-008 | 637 |  | ischemic | 15kv_3x12_uni |  | https://fieldmedical.sharepoint.com/:t:/r/sites/Clinical/Shared%20Documents/VCAS%20Study/TMF-%20Subject%20Files/3-008/3-008%20abl.txt?csf=1&web=1&e=M4Yuxh

## template
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
|  | 0:00 |  |  |  | 0:00 | Leave blank for non-homolca data and we will merge in from GLG
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 0 |  | Total Dwell Time |  | 0

## 1-001 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
2:00 | 2:00 | 0:00 | a resistor fries in the generator after the first appplication of the first lesion. | 1:25 | 2:42 | 1:17
2:45 | 2:52 | 0:06 | abl 2 - 3 | 3:08 | 3:22 | 0:14
2:58 | 3:29 | 0:31 | Vivek wanted to come on at 2:55:11 but gating issues delayed until 2:57:08 | 3:28 | 3:45 | 0:17
4:05 | 4:06 | 0:01 | started to remap ater 3:28:30. Put in 1 lesions ten proceeded to upsize catheters |  |  | 0:00
4:29 | 4:29 | 0:00 | generator dies |  |  | 0:00
4:44 | 4:51 | 0:08 | Switch to RFA |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2801 |  | Total Dwell Time |  | 6452
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 9:05
Skin Closure: |  | 15:05
Total Procedure Time |  | 21600 | This doesn't work correctly if done across days

## 1-002 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
2:16 | 2:18 | 0:02 | induced VT with abl - attemped to term with ATP then abl, it failed. CVN at 2:20:04 | 2:11 | 3:43 | 1:32
2:21 | 2:27 | 0:06 | Induced VT with abl - 2:22:59, didn't term. Stop to troubleshoot CARTO |  |  | 0:00
2:32 | 2:40 | 0:08 | stop to troubleshoot catheter |  |  | 0:00
2:46 | 2:51 | 0:04 | we stop ablating to terminate VT |  |  | 0:00
2:51 | 2:57 | 0:06 | Induced a new VT |  |  | 0:00
3:01 | 3:40 | 0:38 | epi remap after last lesion |  |  | 0:00
3:54 | 3:55 | 0:01 | after epi remap we identified more endocardial targets. Induction after another endo lesion |  |  | 0:00
4:07 | 4:07 | 0:01 | Targetting that annuluar exit that's hard to reach |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 3965 |  | Total Dwell Time |  | 5536
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 9:05
Skin Closure: |  | 13:50
Total Procedure Time |  | 17100 | This doesn't work correctly if done across days

## 1-003 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
22:38 | 22:39 | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 11 |  | Total Dwell Time |  | 0

## 1-004 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
11:43 | 11:43 | 0:00 | waiting time between lesions |  |  | 0:00
12:06 | 12:07 | 0:01 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 57 |  | Total Dwell Time |  | 0

## 1-005 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
15:25 | 15:44 | 0:20 | stopped to remap | 15:02 | 15:16 | 0:13
16:04 | 16:06 | 0:02 | only 2 lesions then remap | 15:20 | 15:48 | 0:28
16:23 | 16:32 | 0:09 | annular lesions then remap | 15:59 | 16:41 | 0:42
0:06 | 0:10 | 0:04 | Next lesions on mapping_2 videos. Case was split up between two sets of videos | 16:45 | 16:52 | 0:07
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2075 |  | Total Dwell Time |  | 5374
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 0:00
Skin Closure: |  | 5:05
Total Procedure Time |  | 18300 | This doesn't work correctly if done across days
Note on C35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: At the start of the video, we already have an agilis in.
Note on C36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This is time on the Pruka when skin closure happened on the camera files. We still don’t have access time.
Note on C37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wrong, don’t use this value.

## 1-010-original (hidden)
start_time | end_time | time_diff | notes
0:32 | 0:35 | 0:04 | stops for induction/remapping
1:22 | 1:23 | 0:01
1:48 | 1:53 | 0:05
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
|  | 0:00 |  | This was the sheet submitted with initial VT efficiency metrics
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Sum rove_time in seconds |  | 542
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 8:46
Skin Closure: |  | 13:42
Total Procedure Time |  | 17760 | This doesn't work correctly if done across days

## 1-006 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
19:53 | 19:59 | 0:06 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 332 |  | Total Dwell Time |  | 0

## 1-007 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
11:40 | 11:40 | 0:00 | Wait and see |  |  | 0:00
11:48 | 11:48 | 0:00 | Wait and see |  |  | 0:00
12:00 | 12:00 | 0:00 | Wait and see |  |  | 0:00
12:22 | 12:22 | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 63 |  | Total Dwell Time |  | 0

## 1-008 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
18:17 | 18:17 | 0:00 |  |  |  | 0:00
18:28 | 18:29 | 0:00 |  |  |  | 0:00
18:50 | 18:50 | 0:00 |  |  |  | 0:00
19:08 | 19:11 | 0:03 | Caused VF during these applications, didn't stop the timer for that |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 270 |  | Total Dwell Time |  | 0

## 1-009 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
11:50 | 11:53 | 0:04 |  |  |  | 0:00
|  | 0:00 | Video cuts off before we do the 3rd ablation |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 211 |  | Total Dwell Time |  | 0

## 1-010 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
11:57 | 12:00 | 0:03 | This is the end of mix_1, video resumes on mix_2 | 17:04 | 17:25 | 0:20
12:08 | 12:17 | 0:09 | Stopped to map VT | 12:35 |  | -0.52441
12:17 | 12:35 | 0:18 | VT reinduced at 12:52:30 |  |  | 0:00
12:50 | 12:53 | 0:02 |  |  |  | 0:00
13:39 | 13:40 | 0:01 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 1993 |  | Total Dwell Time |  | #NUM!
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 8:46
Skin Closure: |  | 13:42
Total Procedure Time |  | 17760 | This doesn't work correctly if done across days

## 1-012 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
1:06 | 1:22 | 0:16 | Stopped for anesthesia | 1:02 | 1:51 | 0:49
1:26 | 1:37 | 0:11 | stopped to attempt induction - induced and cardioverted |  |  | 0:00
1:47 | 1:49 | 0:02 | Ablation after VT induction |  |  | 0:00
2:03 | 2:04 | 0:00 | final lesion |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 1734 |  | Total Dwell Time |  | 2919
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 10:42
Skin Closure: |  | 13:10
Total Procedure Time |  | 8880 | This doesn't work correctly if done across days

## 1-013 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
0:55 | 0:57 | 0:02 |  | 0:58 | 1:34 | 0:36
1:06 | 1:09 | 0:04 |  |  |  | 0:00
1:12 | 1:13 | 0:01 |  |  |  | 0:00
1:19 | 1:19 | 0:00 |  |  |  | 0:00
1:33 | 1:34 | 0:01 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 463 |  | Total Dwell Time |  | 2160
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 14:44
Skin Closure: |  | 17:10
Total Procedure Time |  | 8760 | This doesn't work correctly if done across days

## 1-014 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
13:21 | 13:33 | 0:12 | Ablation 1 and 2 during VT. Got through 4 lesions before stopping to troubleshoot. | 1:44 | 2:06 | 0:21 | swap catheters
13:43 | 13:53 | 0:10 | stop to remap - induced VT and mapped it more basal | 2:09 | 2:58 | 0:48
14:06 | 14:16 | 0:10 | map and term during VT2 |  |  | 0:00
14:25 | 14:28 | 0:02 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2043 |  | Total Dwell Time |  | 4175
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 11:13
Skin Closure: |  | 14:47
Total Procedure Time |  | 12840 | This doesn't work correctly if done across days

## 1-015 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
18:36 | 18:45 | 0:09 |  | 18:31 | 18:53 | 0:21
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 568 |  | Total Dwell Time |  | 1284
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 16:35
Skin Closure: |  | 19:15
Total Procedure Time |  | 9600 | This doesn't work correctly if done across days

## 1-016 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
19:24 | 19:45 | 0:21 | Vivek switched from TS to retrograde to get to another location between 19:37 and 19:43 but we will include this in the times. We then stop to remap | 19:17 | 19:38 | 0:21
20:03 | 20:06 | 0:03 | We find more late potentials during mapping so we go back in | 19:39 | 20:00 | 0:21 | Vivek stops using the ablation catheter at 19:45:57 but he didn't fully remove it from the body so it's still delivering fluid, to be consistent we include these volumes
|  | 0:00 |  | 20:00 | 20:06 | 0:06
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 1478 |  | Total Dwell Time |  | 2938
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 17:38
Skin Closure: |  | 20:25
Total Procedure Time |  | 10020 | This doesn't work correctly if done across days

## 1-017 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
15:27 | 15:53 | 0:26 | Stop to remap | 15:23 | 15:54 | 0:31
16:03 | 16:12 | 0:09 | VT induced and we go back in to re-ablate | 16:02 | 16:19 | 0:17
16:25 | 16:30 | 0:06 |  | 16:23 | 16:37 | 0:14
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2486 |  | Total Dwell Time |  | 3752
Total Procedure Time = Skin Closure - Vascular Access
Vascular Access: |  | 13:45
Skin Closure: |  | 16:54
Total Procedure Time |  | 11340 | This doesn't work correctly if done across days

## 3-001 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
10:01 | 10:48 | 0:47 |  |  |  | 0:00 | Footage NA use GLG FieldForce Out-FieldForce In
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2808 |  | Total Dwell Time |  | 0

## 3-002 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
14:03 | 14:53 | 0:50 | stopped to test |  |  | 0:00 | Footage NA use GLG FieldForce Out-FieldForce In
15:10 | 15:26 | 0:16 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 3937 |  | Total Dwell Time |  | 0

## 3-003 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
9:35 | 10:19 | 0:44 | stopped to test |  |  | 0:00 | Footage NA use GLG FieldForce Out-FieldForce In
10:36 | 10:47 | 0:12 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 3340 |  | Total Dwell Time |  | 0

## 3-004 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
12:57 | 13:17 | 0:20 |  |  |  | 0:00 | Footage NA use GLG FieldForce Out-FieldForce In
13:29 | 13:44 | 0:16 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2171 |  | Total Dwell Time |  | 0

## 1-018 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
15:58 | 16:41 | 0:43 |  | 15:51 | 16:27 | 0:36
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2594 |  | Total Dwell Time |  | 2173

## 1-019 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
11:46 | 12:01 | 0:16 |  | 11:32 | 12:21 | 0:49
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 935 |  | Total Dwell Time |  | 2940

## 1-020 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
12:25 | 12:53 | 0:28 | Stop for inducibility testing | 12:11 | 13:57 | 1:46 | Based on pruka time
12:56 | 12:57 | 0:00 | Ablate during VT. Spontaneous term so we stop ablating and attempt reinduction | 13:57 | 14:00 | 0:03
12:59 | 13:01 | 0:02 | We do one set of lesions then look around - we attempt entrainment at 13:02:02. Video cuts out here | 14:01 | 14:09 | 0:09
13:11 | 13:12 | 0:01 | Start on Mix2. Bad VT term. Stop to reinduce |  |  | 0:00
13:15 | 13:19 | 0:04 | Stop to reinduce |  |  | 0:00
13:20 | 13:23 | 0:02 | Stop to reinduce |  |  | 0:00
13:27 | 13:29 | 0:02 | Late VT term. Stop to reinduce |  |  | 0:00
13:30 | 13:33 | 0:03 | Stop to reinduce |  |  | 0:00
13:35 | 13:38 | 0:04 | Stop to reinduce |  |  | 0:00
13:40 | 13:44 | 0:03 | Switches to retrograde, don't stop the clock. Stop to reinduce |  |  | 0:00
13:47 | 13:47 | 0:00 | We stop to map the CS with the TC. We just make the FAM shell then put FF in the CS. Attempt entrainment from within the CS |  |  | 0:00
13:55 | 13:55 | 0:00 | Did 1 Intra-CS lesion (5 applications). Didn't terminate VT. |  |  | 0:00
14:03 | 14:05 | 0:02 | Went back endocardial. Stopped to test induction after some more lesions. Noninducible for clinical VT |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 3180 |  | Total Dwell Time |  | 7079

## 1-021 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 0 |  | Total Dwell Time |  | 0

## 1-022 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
20:32 | 20:33 | 0:01 | Stop to test inducibility | 20:25 | 20:41 | 0:16
20:36 | 20:41 | 0:04 | Consolidation. Did a 2nd lesion in RVOT then moved to LVOT for 3rd. Don't stop the clock as we go from RVOT to LVOT |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 304 |  | Total Dwell Time |  | 946

## 1-023 (hidden)
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
15:32 | 15:53 | 0:21 | stop to remap | 15:23 | 15:54 | 0:31
16:10 | 16:11 | 0:01 |  | 15:55 | 15:57 | 0:02
|  | 0:00 |  | 16:09 | 16:11 | 0:03
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 1338 |  | Total Dwell Time |  | 2104

## 1-024
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
11:04 | 11:40 | 0:35 |  | 10:57 | 12:00 | 1:03
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 2112 |  | Total Dwell Time |  | 3775

## 1-025
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
11:29 | 11:34 | 0:05 |  | 11:25 | 11:38 | 0:13 | Puts the Octaray back there to update the impedance field
11:42 | 11:55 | 0:14 | Stop for post abl remap 1 | 11:41 | 11:56 | 0:15
12:10 | 12:15 | 0:05 | Targetting residual potentials after 1st remap | 12:09 | 12:15 | 0:06 | Done
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 1414 |  | Total Dwell Time |  | 2064

## 1-026
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
23:12 | 23:36 | 0:24 |  | 23:07 | 23:38 | 0:31
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 1460 |  | Total Dwell Time |  | 1847

## 3-005
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
9:34 | 9:47 | 0:13 | Stopped to perform inducibility testing |  |  | 0:00 | Leave blank for non-homolca data and we will merge in from GLG
9:57 | 9:59 | 0:02 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 881 |  | Total Dwell Time |  | 0

## 3-006
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
12:19 | 12:45 | 0:26 |  |  |  | 0:00 | Leave blank for non-homolca data and we will merge in from GLG
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 1586 |  | Total Dwell Time |  | 0

## 3-008
start_time | end_time | time_diff | notes | start_time | end_time | time_diff | notes
12:04 | 12:15 | 0:11 |  |  |  | 0:00 | Leave blank for non-homolca data and we will merge in from GLG
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
|  | 0:00 |  |  |  | 0:00
Sum rove_time in seconds |  | 637 |  | Total Dwell Time |  | 0